## Standard Curve
|  |  |  | Well | Fluor | Target | Content | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Starting Quantity (SQ) CPR Machine | Log Starting Quantity Machine | Run File
[5 empty] | FAM |  | NA026 |  |  |  | 1000000 | 6
[5 empty] | FAM |  | NA026 |  |  |  | 1000000 | 6
[5 empty] | FAM |  | NA015 |  |  |  | 100000 | 5
[5 empty] | FAM |  | NA015 |  |  |  | 100000 | 5
[5 empty] | FAM |  | NA015 |  |  |  | 100000 | 5
[5 empty] | FAM |  | NA015 |  |  |  | 100000 | 5
[5 empty] | FAM |  | NA014 |  |  |  | 10000 | 4
[5 empty] | FAM |  | NA014 |  |  |  | 10000 | 4
[5 empty] | FAM |  | NA014 |  |  |  | 10000 | 4
[5 empty] | FAM |  | NA014 |  |  |  | 10000 | 4
[5 empty] | FAM |  | NA013 |  |  |  | 1000 | 3
[5 empty] | FAM |  | NA013 |  |  |  | 1000 | 3
[5 empty] | FAM |  | NA012 |  |  |  | 100 | 2
[5 empty] | FAM |  | NA012 |  |  |  | 100 | 2
Std Curve Metrics | Values | Criteria
% Efficiency |  | 90<%Efficiency<110 | FAIL
r^2 |  | r^2 | Pass
Slope
y-intercept
Assay | Phytoxigene Total Cyano

## Outlier Check
| Well | Fluor | Target | Content | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Starting Quantity (SQ) CPR Machine | Log Starting Quantity Machine | Run File | Ct Average (All Runs) | Ct Std. Dev Machine (All Runs) | tau | Test 1 | Test 2 | Test 3 | Test 4
|  | FAM |  | NA026 |  |  |  | 1000000 | 6 | [8 empty] | n | tau
|  | FAM |  | NA026 |  |  |  | 1000000 | 6 | [8 empty] | 3 | 1.1511
[18 empty] | 4 | 1.425
[18 empty] | 5 | 1.5712
NA026 | [17 empty] | 6 | 1.6563
ONLY | [17 empty] | 7 | 1.711
[18 empty] | 8 | 1.7491
[18 empty] | 9 | 1.777
[18 empty] | 10 | 1.7984
[18 empty] | 12 | 1.829
|  | FAM |  | NA015 |  |  |  | 100000 | 5 | [8 empty] | 14 | 1.8498
|  | FAM |  | NA015 |  |  |  | 100000 | 5 | [8 empty] | 15 | 1.8579
|  | FAM |  | NA015 |  |  |  | 100000 | 5 | [8 empty] | 16 | 1.8649
|  | FAM |  | NA015 |  |  |  | 100000 | 5 | [8 empty] | 18 | 1.8764
NA015 | [17 empty] | 19 | 1.8811
ONLY | [17 empty] | 20 | 1.8853
[18 empty] | 21 | 1.8891
[18 empty] | 22 | 1.8926
[18 empty] | 23 | 1.8957
[18 empty] | 24 | 1.8985
|  | FAM |  | NA014 |  |  |  | 10000 | 4 | [8 empty] | 25 | 1.9011
|  | FAM |  | NA014 |  |  |  | 10000 | 4 | [8 empty] | 26 | 1.9035
|  | FAM |  | NA014 |  |  |  | 10000 | 4 | [8 empty] | 27 | 1.9057
|  | FAM |  | NA014 |  |  |  | 10000 | 4 | [8 empty] | 28 | 1.9078
NA014 | [17 empty] | 29 | 1.9096
ONLY | [17 empty] | 30 | 1.9114
|  | FAM |  | NA013 |  |  |  | 1000 | 3
|  | FAM |  | NA013 |  |  |  | 1000 | 3
NA013
ONLY
|  | FAM |  | NA012 |  |  |  | 100 | 2
|  | FAM |  | NA012 |  |  |  | 100 | 2
NA012
ONLY

## NTC
Well Position | Sample Name | Target Name | Reporter | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Ct Data File Name | Test 5

## Negative Controls
Well Position | Sample Name | Target Name | Reporter | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Ct Data File Name | Test 6

## Sample Metadata
Project | Date Sample Taken | Time Sample Taken | Sample ID | DNA ID | Volume Filtered | Date Extracted | Volume Eluted | Volume Template
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5
5

## qPCR Run Entry
RUN 1 | [9 empty] | RUN 2 | [9 empty] | RUN 3
Sample ID | Well Position | Sample Name | Dilution Factor | Target Name | Reporter | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Ct Data File Name | Sample ID | Well Position | Sample Name | Dilution | Target Name | Reporter | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Ct Data File Name | Sample ID | Well Position | Sample Name | Dilution | Target Name | Reporter | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Ct Data File Name
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0
0 | [9 empty] | 0 | [9 empty] | 0

## IAC
RUN 1 | [12 empty] | RUN 2 | [12 empty] | RUN 3
Sample ID | Well Position | Sample Name | Dilution Factor | Target Name | Reporter | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Ct Data File Name | Ct Mean (NTC of Run) | Ct - Ct Mean (NTC of Run) | Test 7 | Sample ID | Well Position | Sample Name | Dilution | Target Name | Reporter | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Ct Data File Name | Ct Mean (NTC of Run) | Ct - Ct Mean (NTC of Run) | Test 7 | Sample ID | Well Position | Sample Name | Dilution | Target Name | Reporter | Ct Machine | Ct Mean Machine | Ct Std. Dev Machine | Ct Data File Name | Ct Mean (NTC of Run) | Ct - Ct Mean (NTC of Run) | Test 7
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0
0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 |  | 0 |  |  |  | IAC | CALFL-ORNG | [5 empty] | 0
|  |  |  | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0 | [5 empty] | IAC | CALFL-ORNG | [5 empty] | 0

## Sample Calculation
| Raw Results |  |  | Select with "X" |  |  | Copies Per Reaction
Sample ID | Ct 1st run | Ct 2nd run | Ct 3rd run | Ct 1st run | Ct 2nd run | Ct 3rd run | Assay Calculate Copies Per Reaction (CPR) - Without Dilution Factor | Average CPR for Results | Stdev CPR for Results | Average CPR | STDEV CPR | RSD | Test 8 | Test 9
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!
0 |  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Pass
|  |  |  | X |  |  | #VALUE! | #VALUE! | #VALUE!

## Results
Test Results | Test1 | Test2 | Test3 | Test4 | Test5 | Test6 | Test7 | Test8 | Test9
| Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass
Std. Curve Metrics | Test1: R-squared; Test2: Slope; Test3: Y-Intercept; Test4: Efficiency; Test5: Assay
Phytoxigene Total Cyano
| Pass |  |  | FAIL
Sample Name | Target Name | Mean CPR | CPR_Stdev | Dilution Factor | Template Volume (uL) | Elution Volume (uL) | Volume Filtered (mL) |  | Sample Value | Sample Stdev | Units
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL
0 | 0 | #VALUE! | #VALUE! |  | 5 | 0 | 0 |  | #VALUE! | #VALUE! | copies/mL